ARTICLE 32: Specialized Energy Code Bylaw

To see if the Town will repeal the Town of Ashfield General Bylaw, entitled “Stretch Energy Code” and replace it with a new General Bylaw entitled “Specialized Energy Code” for the purpose of regulating the design and construction of buildings for the effective use of energy and reduction of greenhouse gas emissions, pursuant to the entirety of 225 CMR 22 and 23 including Appendices RC and CC, including future editions, amendments or modifications thereto, with an effective date of January 1,2025, a copy of which is on file with the Town Clerk, or act relative thereto.

ASHFIELD GENERAL BYLAW: SPECIALIZED ENERGY CODE

A. Purpose

1. The purpose of the Specialized Energy Code shall be to provide a more energy efficient and low greenhouse gas emissions alternative to the Stretch Energy Code and the baseline Massachusetts Energy Code, applicable to the relevant sections of the building code for both new construction and existing buildings to further reduce the climate impacts of buildings, with the goal of achieving net-zero greenhouse gas emissions from the buildings sector no later than 2050. B. Definitions 1. International Energy Conservation Code (IECC): The International Energy Conservation Code (IECC) is a building energy code created by the International Code Council. The baseline energy conservation requirements of the MA State Building Code are the IECC with Massachusetts amendments, as approved by the Board of Building Regulations and Standards and published in state regulations as part of 780 CMR. 2. Specialized Energy Code: Codified by the entirety of 225 CMR 22 and 23 including Appendices RC and CC. The Specialized Energy Code adds residential and commercial appendices to the Massachusetts Stretch Energy Code, based on amendments to the respective net-zero appendices of the International Energy Conservation Code (IECC). 3. Stretch Energy Code: Codified by the combination of 225 CMR 22 and 23, not including Appendices RC and CC. The Stretch Energy Code is a comprehensive set of amendments to the International Energy Conservation Code (IECC) seeking to achieve all lifecycle costeffective energy efficiency in accordance with the Green Communities Act of 2008, as well as to reduce the climate impacts of buildings built to this code. The Stretch energy code was previously codified in 780 CMR appendix 115.aa, prior to the passage of the 2021 Act Creating a Next- generation Roadmap for Massachusetts Climate Policy (2021 Climate Act). Ashfield Annual Town Meeting May 4, 2024 Page 19 of 20 C. Applicability 1. The Town adopts the Specialized Energy Code, as codified by the entirety of 225 CMR 22 and 23 including Appendices RC and CC, including any future editions, amendments, or modifications, in place of the applicable provisions of the Massachusetts State Building Code and the Stretch Energy Code, for all commercial and residential buildings.

2. The Specialized Code is enforceable by the Building Commissioner or Inspector of Buildings. Explanation: In an effort to promote and regulate the energy efficiency of Ashfield buildings, the Town of Ashfield adopted the Stretch Energy Code as a General Bylaw in 2011 and has adopted all subsequent editions including the most recent version that automatically took effect on January 1,2023. The Specialized Energy Code builds on the current Stretch Code with additional provisions that help meet our climate goals and promote the cost-effective transition to all-electric buildings. The Specialized Energy Code incorporates the existing Stretch Code [225 CMR 22&23] and adds the additional Appendices RC and CC. The Appendices only apply to new construction of residential and commercial buildings and not to existing structures. The existing Stretch Code will be in effect until January 1, 2025- the effective date of the Specialized Energy Code.

Proposed by the Energy Committee

Recommended by the Finance Committee (3-1-0)

Majority Vote Required